Tecanno volume flow regulator 100 for infinitely variable supply and exhaust air regulation. Can be combined with Tecanno filter. Protected by patent, made in Germany. Made of ABS plastic, white.

Manufacturer: Tecanno
Type: Volume flow regulator 100
Item No.: 10100