Tecanno round swirl outlet for supply and exhaust air in design-type construction (1000300-9016-20).

Radially arranged air channel openings and 480 diffuser openings. For ceiling installation on mineral fibre or metal plate ceilings with customer-supplied AKH 09 plenum box from Trox. Simple installation using main screw included. Made of sheet steel with electrostatic powder coating (RAL 9016-20). Protected design patent, made in Germany.

Dimensions (diameter) in mm: 254  
Volume flow range: 10-250 m³/h

Manufacturer: Tecanno  
Type: Vent Round  
Item No.: 1000300–9016-20